The HGM-800A type ultrasonic Height weight examination machine adopts the microcomputer control, automatic measurement of human body height, weight, blood pressure (optional), fat, measurement results can be voice reported, while the digital tube display and can print the measurement results; Simultaneous measurements can also be exported via RS-232 serial (standard) or Bluetooth (optional). The machine is equipped with a variety of languages for customers to choose. The machine is equipped with high-quality thermal printers, 6 "LCD touch screen makes all operations more convenient and fast." Exquisite patent appearance make this machine more evident its sedate and noble temperament, reliable quality assurance and perfect after-sales service also make this machine quickly won the user's Pro-gaze, and become hospitals, schools, gyms, physical examination centers and other relevant departments and units ideal.

Main parameters

Measurement range: 100-200cm

The fractal value; 0.5cm

Weighing Range: 8-200kg

Sub-degree value: 0.1kg

Fuselage Height: 237cm

Deadweight: 50kg

Working voltage: AC100-240V 50/60Hz